## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-05-10 | N | FAMMIS | 22W029190 |  | GMM-607 | VANITY LIGHT NOT TURNING ON | M9 | REPLACED BURNMT BULB AND REPLAC ED BROKEN TUMSTONES | RESIDENT | CLOSED
| N | FAMMIS | 22W029193 |  | CDC-108 | SINK OUTSIDE ROOM 108 IS CLOGGED | M9 | CLEARED DRAIN AND SAND TRAP |  | CLOSED
| N | M1 TRENT |  |  | CDC-SOUTH | UNCLOGGED AND EMPTY SAND TRAPS FOR ALL SINKS AND FOUNTAINS | M9 | CLEARED AND EMPTIED SAND TRAPS FOR ALL SINKD AND WATER FOUNTAINS |  | CLOSED
| N | M1 TRENT |  |  | BBA-101 | INSPECT DRAIN CLEAN OUT OUTSIDE BUILDING A | M9 | CHECKED TRHOUGH OUT NIGHT NO SINGS OF DRAIN BACKING UP
| N | FAMMIS | 22W029225 |  | GMM-609 | KITCHEN SINK LEAKING | M9 | SECURED FAUCET AND WATER SUPPLY LINE | RESIDENT | CLOSED
| N | EXT SHT |  |  | GMF-310 | FIRE ALARM | M9 | BURNT FOOD,ALARM WAS GOING OFF FOR 20MINS PRIOR TO ME HEARING AND ARRIVING AT LOCATION
| N | FAMMIS | 22W029091 |  | GMA | BUILDING WALK PUNCH LIST | M9 | WORK IN PROGGRESS |  | OPEN
| N | M1 TRENT |  |  | GMF-105 | SAFETY TRAINING | M9 | COMPLETED SAFETY TRAINING