## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-05-12 | n | resident | 22W029569 | famis | PH-P228 | clogged toilet | M10 | closet augered toilet | resident | close
| n | resident | 22W029550 | famis | AI-C112 | double door handle broken | M10 | repaired handle installed screw to secure the handle | staff | open
| n | resident | 22W029565 | famis | GM-I103 | broken toilet handle | M10 | replaced handle | resident | close
| n | resident | 22W029511 | famis | BB-S106 | garbage disposal is not working | M10 | reset unclogged | resident | open
| n | resident | 22W029465 | radio | FA-16F-KIT | no power in the outlet | M10 | breaker is being overloaded | resident | close
| n | staff | 22W029439 | radio | CDC1219 | cabinet handle loose | M10 | repaired door | staff | close
| y | resident | 22W029571 | famis | PL-C-40 | leak in the ceiling by the ac | M10 | copper lines to the coil from the heater leaking shut off recir pump ball valves housekeeping cleaned area extracted carpet | follow-up | open
| y | resident | 22W029512 | famis | BB-S106 | living room ac is not working | M10 | attempted to install portable in the living room,I was unable to due to windows are not able to be opened they are fixed and the unit cannot vent explained the to the resident they are ok with this-their bedroom units are wortking | open | open
| n | rso | n/a | radio | PL-65 | clogged toilet | M10 | unit in Quaratine delivered plunger to the resident | resident | close