## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-05-16 | N | FAMMIS | 22W029632 |  | GML-507 | SHOWER HEAD HOLDER IS LOOSE | M9 | SECURED SHOWER HEAD HOLDER | RESIDENT | CLOSED
| N | FAMMIS | 22W029630 |  | GML-507 | OUTLETS BY TV NOT WORKING | M9 | INSTRUCTED RESIDENT ON HOW TO PLUG IN WITH CHILD SAFETY | RESIDENT | CLOSED
| N | FAMMIS | 22W029628 |  | GML-507 | OUTLETS BY RESTROOM NOT WORKING | M9 | RESET CIRCUIT BRERAKER AND GFI OUTLETS | RESIDENTS | CLOSED
| N | FAMMIS | 22W029631 |  | GML-507 | LIGHT BY FRONT DOOR IS OUT | M9 | REPLACED BURNT BULB | RESIDENT | CLOSED
| N | EXT SHT |  | LO RSO | LO-B | DOOR BY B WING ALARM GOING OFF | M9 | INSPECTEED BOTH A AND B WING DOORS ALL 3 FLOORS COULD NOT LOCATE ALARM
| N | FAMMIS | 22W029766 |  | FA-16B | OUTYLET BY RESTROOM NOT WORKING | M9 | RESET GFI OUTLET IN BEDROOM A | RESIDENT | CLOSED
| N | FAMMIS | 22W029633 |  | GML-526 | TRASH CHUTE DOOR IS JAMMED | M9 | SECURED PIN TO REALEASE LATCH |  | CLOSED
| N | EXT ST |  | STEAM PLANT | BBR | EXTERIOR LIGHTING NOT COMING ON | M9 | BOTH BUILDINGS R AND S LIGHTING IS ON
| N | FAMMIS | 22W029772 |  | GMM-607 | BOTH OUTLETS BY RESTROOM NOT WORKING | M9 | RESET CIRCUIT BREAKER AND BOTH GFI OUTLETS | RESIDENT | CLOSED
| Y | FAMMIS | 22W029752 |  | GML-105 | THERES WATER BY MY FRIDGE | M9 | COULD NOT LOCATE A SOURCE OF LEAK CHECKED ALL FLOORS | FOLLOW UP | FOLLOW UP