## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-05-17 | N | staff | n/a | radio | LO-LOADING DOCK | leak in back dock of lothian | M9-M10 | shut off water in the chiller area- | staff | close
| N | M1 | n/a | radio | AVC- | floor outlet trip hazzard | M9-M10 | found no issue-in the area byt the kitchen- | staff | close
| N | resident | 22W029831 | famis | FA-01A-KIT | no power in kitchen and bedroom | M9-M10 | reset breaker | resident | close
| N | resident | 22W029872 | famis | FA-01C-KIT | disposal is not working | M9-M10 | replaced leaking disposal | resident | close
| N | resident | 22W029855 | famis | FK-5S | toilet clogged | M9-M10 | closet augered drain | resident | close
| N | resident | 22W029841 | famis | GM-F405 | toilet is broken | M9-M10 | replaced handle | resident | close
| N | resident | 22W029825 | famis | GM-M504 | sink clogged | M9-M10 | unclogged drainline | resident | close
| N | resident | 22W024431 | famis | GMK-POOL | fire pit in pool area is not working | M9-M10 | replaced burner control | staff | close
| Y | resident | 22W029873 | famis | FA-01C-KIT | wet carpet living room behind sink bar area | M9-M10 | area was wet due to the disposal leaking into the cabinet-need to dryout and celan carpet cabinet repair needed | follow-up | open