## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-06-03 | n | staff | 22W031523 | famis | CDC1231 | toilet is leaking | M10 | replaced vaccum breaker | staff | close
| n | resident | 22W031540 | famis | LO-D216 | floor drains and toilets backed up | M10 | snaked floor drains | resident | close
| n | resident | 22W031541 | famis | LO-D212 | floor drains and toilets backed up | M10 | snaked floor drains | resident | close
| n | resident | 22W031544 | famis | PH-H235 | clogged toilet | M10 | closet augered toilet | resident | close
| n | resident | 22W031552 | famis | PH-D220 | leaking ceiling | M10 | unclogged ac drainline | resident | close
| y | resident | 22W031542 | famis | OB-120 | hvac is not working | M10 | placed portable unit hvac is not running | follow-up | open