## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-06-09 | n | resident | 22W032179 | famis | GM-I208 | tub clogged | M9-M10 | unclogged drainline | resident | close
| n | staff | 22W032098 | famis | CDC1001C | cabinet door fell | M9-M10 | repaired cabinet | resident | close
| n | resident | 22W032176 | famis | GM-G108 | kitchen sink clogged | M9-M10 | unclogged drainline | resident | close
| n | resident | 22W032168 | famis | FA-04E-KIT | dining room light out | M9-M10 | replaced light | resident | close
| n | resident | 22W032133 | famis | GM-F210 | toilet is not flushing | M9-M10 | replaced flapper and handle | resident | close
| n | resident | 22W032133 | famis | GM-F210 | disposal clogged | M9-M10 | unclogged drainline | resident | close
| n | resident | 22W032133 | famis | GM-F210 | sink clogged | M9-M10 | unclogged drainline | resident | close
| y | resident | 22W032178 | famis | OBAN B | unit 23-24 tree brach fell | M9-M10 | removed branch from the patio and placed outside fence | follow-up | open
| y | resident | 22W032171 | famis | FA-04M-BAT | ac leak | M9-M10 | replaced ac filter cleared line-leak in the ceiling | follow-up | open
| y | resident | 22W032056 | famis | FA-13F | ac is not running | M9-M10 | placed portable unit-left only one unit two were tripping the power- | follow-up | open
| y | resident | 22W032186 | famis | PL-A-01 | leak under bedroom sink | M9-M10 | one-piece angle stop leaking-shut off cold water side | follow-up | open