## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-06-10 | n | resident | 22W032289 | famis | OB-007 | leak in living room | M10 | tigthened supply lines at the water heater | RESIDENT | CLOSE
| n | resident | 22W032296 | famis | PH-D325 | ac leak | M10 | unclogged drainline | RESIDENT | CLOSE
| n | resident | 22W032300 | famis | GM-M509 | no power | M10 | reset breaker | RESIDENT | CLOSE
| y | resident | n/a | famis | FK13F | ac not working | M10 | placed second portable unit | FOLLOW-UP | OPEN
| y | resident | 22W032245 | famis | GM-M207 | mildew stains on the ceiling of the bathroom | M10 | ceiling needs to be painted | FOLLOW-UP | OPEN
| n | resident | 22W032256 | famis | GM-L405 | sink clogged | M10 | unclogged drainline | RESIDENT | CLOSE
| n | staff | n/a | famis | Getway café | floor drains clogged | M10 | snaked floor drain | RESIDENT | CLOSE
| n | resident | 22W032268 | famis | GM-B301 | microwaver light out | M10 | replaced light | RESIDENT | CLOSE
| n | resident | 22W032270 | famis | GM-B301 | sink clogged | M10 | unclogged drainline | RESIDENT | CLOSE
| n | resident | 22W032271 | famis | GM-B301 | tub clogged | M10 | unclogged drainline | RESIDENT | CLOSE