## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-06-18 | n | resident | 22W032925 | famis | BB-G203 | toilet is clogged | M10 | closet augered toilet | resident | close
| n | resident | 22W032920 | famis | PH-J227 | toilet leaking | M10 | replaced sloan kit | staff | close
| n | staff | 22W032918 | famis | FA-GROUNDS | leak by the hose connection outside by the pool | M10 | replaced copper line | staff | close
| n | resident | 22W032922 | famis | GM-M508 | light out by room c | M10 | replaced light | resident | close
| y | resident | 22W032924 | famis | GM-L302 | two hall lights are out | M10 | light by B and D rooms need ballast replaced no parts in the shop | follow-up | close
| n | staff | 22W032928 | famis | GM-I-GROUN | right main entry door is not closing | M10 | the top arm is grinding on the top of the door frame door is closing for now | follow-up | open
| n | staff | 22W032927 | famis | GM-J311 RE | toilet is not flushing | M10 | replaced batteried in the flush sensor and augered toilet | staff | close