## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-06-23 | n | resident | 22W033273 | famis | GM-F402 | shower water is not getting hot | M10 | replaced shower cartridge | resident | close
| n | resident | 22W033228 | famis | GM-M310 | light out in room B | M10 | replaced room ceiling light | resident | close
| n | resident | 22W032966 | famis | GM-L208 | entry light is out | M10 | replaced light | resident | close
| n | resident | 22W032965 | famis | GM-L208 | light in fridge is out | M10 | light is working | resident | close
| n | resident | 22W032958 | famis | GM-M201 | tub is clogged | M10 | unclogged drain | resident | close
| n | resident | 22W032926 | famis | GM-M508 | wall light is out | M10 | replaced light | resident | close
| y | resident | 22W032924 | famis | GM-L302 | wall lights are out | M10 | wall lights in the unit are out the ballasts need to be replaced-did not find any in stock at the maintenance shop need 2 total | follow-up | open
| y | resident | 22W033333 | famis | FK-9M | no hot water | M10 | turned on water heater for the builiding | follow-up | open
| y | resident | 22W033332 | famis | BBU-307 | no hot water | M10 | bled hot water line at the building dog house | follow-up | open