## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-06-26 | N | FAMMIS | 22W033413 |  | GMD-108 | STOVE NOT WORKING | M9 | INSPECTED STOVE EVRYTHING WORKING PROPERLY | RESIDENT | CLOSED
| N | FAMMIS | 22W033435 | PH RSO | PHQ | LEAKING IN BREAKROOM | M9 | INSPECTED ALL PLUMBING FIXTURES NO VISIBLE LEAKS DISPOSAL STILL HAD PLUG IN PLACE FOR DISHWASHER LINE REMOVED PLUG | RSO STAFF | CLOSED
| Y | EXT SHT | 22W033450 |  | BBN | SPRINKLER HEAD BROKEN BY MAINTANCE SHOP CAUSING WALK WAY TO FLOOD | M9 | SHUT OFF VALVES FOR SPRINKLERS |  | OPEN
| N | EXT SHT | 22W033449 |  | GMF-103 | TOILET NOT FLUSHING | M9 | REPLACED SENSOR SOLENOID |  | CLOSED
| N | FAMMIS | 22W033437 |  | GMD-403 | TUB IS CLOGGED | M9 | SNAKED TUB DRAIN TO REMOVE CLOG | RESIDENT | CLOSED
| N | FAMMIS | 22W033434 |  | GMB-303 | AC WONT COOL PAST 72 DEGREES | M9 | SPOKE TO RESIDENT LETTING HER KNOW T-STATS R PROGRAMMED NOT TO COOL PAST 72 AC WORKING FINE | RESIDENT | CLOSED
| N | EXT SHT | 22W033448 |  | PL-F | EXTERIOR LIGHTING NOT COMING ON | M9 | RESET CIRCUIT BREAKER FOR F AND DETACHED GARAGE EXTERIOR LIGHTING |  | CLOSED
| N | FAMMIS | 22W033441 |  | LOB-223 | TOILET KEEPS FLUSHING | M9 | REPLACED SLOAN DIAPHRAM AND VACCUM BREAKER |  | CLOSED
| N | FAMMIS | 22W033442 |  | PHB-107 | DOOR NOT LOCKING | M9 | TOOK APART LOCKING MECHANISM DISENGAGED LATCHED LUBED AND CLEANED |  | CLOSED
| N | EXT SHT | 22W033451 |  | GMC | EXTERIOR STAIRWELL LIGHTS ARE OUT | M9 | PROGRAMMED TIMER |  | CLOSED