## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-06-28 | n | resident | 22W033656 | famis | GM-M303 | toilet clogged | M9-M10 | closet augered toilet | resident | close
| n | resident | 22W033640 | famis | FA-03H-BAT | light out in bathroom | M9-M10 | replaced light | resident | close
| n | resident | 22W033629 | famis | OB-016 | leak in bathroom | M9-M10 | noise is the condensation drainline all clear | resident | close
| n | resident | 22W033575 | famis | GM-M404 | clogged sink | M9-M10 | unclogged sink drain | resident | close
| n | resident | 22W033575 | famis | GM-M404 | clogged tub | M9-M10 | unclogged tub drain | resident | close
| n | resident | 22W033591 | famis | GM-I405 | light out in bedroom | M9-M10 | replaced room light | resident | close
| n | resident | 22W033675 | famis | BB-G207 | toilet clogged | M9-M10 | closet augered toilet | resident | close
| n | resident | 22W033679 | famis | GM-I501 | clogged tub | M9-M10 | unclogged tub drain | resident | close
| n | staff | 22W033678 | famis | LO-B323 | two clogged toilet overflowed | M9-M10 | snaked toilet drains | resident | close
| n | resident | 22W033674 | famis | BB-S110 | toilet is not flushing | M9-M10 | repaired lever and chain | staff | close
| n | resident | 22W033573 | famis | GM-F509 | light out in bedroom | M9-M10 | replaced room light | resident | close