## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-07-05 | N | FAMMIS | 23W000171 |  | GMF-510 | WATER TEMP IN SHOWER IS NOT CONSTANT | M9 | REPLACED SHOWER SPINDEL | DOOR TAG | CLOSED
| N | FAMMIS | 23W00177 |  | OB-132 | THERES NO HOT WATER | M9 | TOOK BURNER ASSEMBLY APART CLEANED BURNER INSTALLED AND RE LIT HEATER | RESIDENT | CLOSED
| N | FAMMIS | 23W000219 |  | GMM-510 | SHOWER IS CLOGGED AND KITCHEN FAUCET HAS LOW PRESSURE | M9 | CLEARED TUB DRAIN AND REPLACED FAUCET AERATOR | DOOR TAG | CLOSED
| N | STEAM PLANT |  | STEAM PLANT | BARN | FIRE ALARM GOING OFF | M9 | DON’T HAVE KEYS FOR THE BARN/CALLED IN CURTIS WHITE TO RESET FIRE PANEL | CALLED OUT CURTIS WHITE
| N | STEAM PLANT | 22W00026 | STEAM PLANT | FA-8C | TOILET IS OVERFLOWING | M9 | CLEARED TOILET | RESIDENT | CLOSED
| N | M1 TRENT |  |  | FA-6H | LOCK UNIT UP | M9 | LOCKED UNIT
| N | M1 TRENT |  |  | FA-6R | LOCK UNIT UP | M9 | LOCKED UNIT
| N | M1 TRENT |  |  | FA-3R | LOCK UNIT UP | M9 | LOCKED UNIT
| N | M1 TRENT |  |  | gmg-5th flr | blead ot water syatem due to building shut down | M9 | WALKED ALL 5 FLOORS RAN WATER IN EVERY UNIT