## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-07-06 | n | ext-shift | 23W000357 | famis | GM-G-GROUN | pole light out | M9-M10 | repaired 3 pole lights by bldb and acces road | staff | close
| n | ext-shift | 23W000356 | famis | GM-I-GROUN | pole light out | M9-M10 | repaired 2 pole lights | staff | close
| n | M1 | n/a | radio | FK-11 BLDG | water heater down | M9-M10 | inspected water heater is working and running | staff | close
| n | resident | 23W000176 | famis | GM-I102 | dryer vent clogged | M9-M10 | cleared outlet of the dryer on the exterior of the building | resident | close
| n | resident | 23W000289 | famis | GMF-510 | only lukewarm water at the shower | M9-M10 | shower temp is working properly | left door tag | close
| n | resident | 23W000310 | famis | FA-14E-B B | no hot water | M9-M10 | water is working and is hot | resident | close
| y | staff | 23W000349 | famis | PH-F111 | broken glass vending machine broken by the foxhole | M9-M10 | swept glass clear of the area | follow-up | open
| n | M1 | n/a | radio | FK-11H | lock up | M9-M10 | secured unit | staff | close
| n | M1 | n/a | radio | GM-POOL | inspect pool | M9-M10 | checked pool-refilled cholrine tabs | staff | close