## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-07-10 | N | EXT SHT |  |  | GM-POOL | DAILY POOL CHECK | M9 | SYSTEM IN FAIL SAFE ALARM MODE/RESET ALARMS/FILLED CHLORINE FEEDER/BACKWASHED SAND FILTER
| N | EXT SHT |  |  | PL-POOL | DAILY POOL CHECK | M9 | INSPECTED SYSTEM AND FILLED CHLORINE FEEDERS
| Y | EXT SHT |  | M1 TROY | PH-J102 | WATER LEAK IN CEILING | M9 | EMPTIED CONTAINER CATCHING WATER AS NEEDED | TROY
| Y | EXT SHT |  |  | FA-17 | WATER LINES OUTSIDE BUILDING 17 ARE LEAKING LOTS OF WATER | M9 | BOTH 3/4 HOT WATER LINES WERE DAMAGED CUT AND REPLACED COPPER LINES/ONE LINE STILL DRIPPING COULD NOT GET POSITIVE WATER SHUT DOWN | FOLLOW UP ONE LINE STILL DRIPPING COULD NOT GET A POSSITIVE WATERE SHUT DOWN TO SAUDER IN 90 ELBOW