## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-07-12 | n | resident | 23W000740 | famis | FA-16A-A B | clogged sink | M9-M10 | unclogged ptrap assembly | resident | close
| n | resident | 23W000596 | famis | GM-F402 | dishwasher leak | M9-M10 | resident used wrong soap to in the dishwasher | resident | close
| n | resident | 23W000799 | famis | PH-C311 | leak in the ceiling hallway | M9-M10 | unclogged ac drain line | resident | close
| n | resident | 23W000780 | famis | LO-G102 | no pressure | M9-M10 | flushed aerator | resident | close
| n | resident | 23W000781 | famis | LO-G102 | hot water only goes luke warm | M9-M10 | ran hot water several minutes until temp | resident | close
| n | resident | 23W000828 | famis | FA-01J-A B | clogged sink | M9-M10 | unclogged ptrap assembly | resident | close
| n | resident | 23W000828 | famis | FA-01J-A B | clogged tub | M9-M10 | unclogged tub drain | resident | close
| n | M1 | n/a | radio | GMG-5 | lock up | M9-M10 | secured 5th floor | staff | close
| n | M1 | n/a | radio | GMG-4 | lock up | M9-M10 | secured 4th floor | staff | close
| n | M1 | n/a | radio | FK-1 | lock up | M9-M10 | secured 1m,1g,1p | staff | close
| n | M1 | n/a | radio | GMK-POOL | inspect pool | M9-M10 | checked pool-filled chlorine | staff | close
| n | staff | n/a | ext-shift | GMK-101 | clogged toilet | M9-M10 | closet augered toilet | staff | close