## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-07-17 | N | FAMMIS | 23W001121 |  | OB-93 | BATH CEILING LEAKING WATER | M9 | LEAK LOCATED IN UNIT 94 SUPPLY LINE TO TOILET NOT TURNED OFF ALL THE WAY | RESIDENT | CLOSED
| N | FAMMIS | 23W001125 |  | FA-6D | TOILKET HANDLE BROKE OFF | M9 | REPLACED TOILET HANDLE AND FLAPPER | RESIDENT | CLOSED
| N | FAMMIS | 23W001118 |  | GMI-510 | FIXTURE COVER FELL | M9 | SECURED COVER |  | CLOSED
| N | EXT SHT |  |  | GM-POOL | DAILY POOL CHECK | M9 | INSPECTED POOL
| Y | FAMMIS | 23W001127 | STEAM PLANT | FA-4E | LEAK IN CEILING BY BATHROOM | M9 | AC CONDENSATE PAN LEAK PAN NEEDS REPAIR OR REPLACED | RESIDENT/FOLLOW UP | OPEN
| N | FAMMIS | 23W001120 |  | GMF-206 | LIGHT COVER FELL | M9 | SECURED COVER |  | CLOSED
| Y | EXT SHT |  |  | PH-102 | EMPTY WATER BUCKET | M9 | EMPTIED WATER CONTAINER AS NEEDED