## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-07-25 | N | FAMMIS | 23W001818 |  | FA-6D | KITCHEN SINK BACKING UP | M9 | SNAKED DRAIN | RESIDENT | CLOSED
| N | FAMMIS | 23W001837 |  | BBR-201 | NO POWER IN APARTMENT | M9 | RESET CIRCUIT BREAKER | RESIDENT | CLOSED
| Y | FAMMIS | 23W001853 |  | BBR-201 | AC LEAKING | M9 | CONDENSATED COMING FROM CHILLED WATER LINES BUT AC SOUND LIKE BARRING ARE GOING OUT | RESIDENT | FOLLOW UP
| Y | EXT SHT |  |  | GETAWAY CAFÉ | SWAMP COOLER NOT WORKING | M9 | WHEEL PULLEY SNAPPED OFF NEEDS TO BE LOOK AT SHUT UNIT OFF | SHAWN/RUDY | FOLLOW UP
| N | EXT SHT |  |  | FA | LOCK UP UNITS | M9 | LOCKED UP 1C,1G,1P,2J,2D,2Q,2S,3A, 3H,3M
| N | EXT SHT |  |  | PL | LOCK UP UNITS | M9 | LOCKED UP 1 ,4,6