## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-07-28 | n | resident | 23W002123 | famis | FA-16A-B B | smoke detector beeping | M9-M10 | replaced battery | resident | close
| n | staff | 23W002177 | famis | PH-Q1C | dirty water coming out of faucet | M9-M10 | replaced aerator flushed lines | staff | close
| n | resident | 23W002155 | famis | FA-06M-KIT | kitchen sink clogged | M9-M10 | snaked drainline | resident | close
| n | M1 | n/a | radio | PHJ-102 | ceiling leak follow-up | M9-M10 | drained can placed under the leak | staff | close
| n | M1 | n/a | radio | GM-POOL | inspect pool | M9-M10 | inpected pool ,filled chlorine tank | staff | close
| n | staff | n/a | radio | LO-RSO | program requested lights off in the dining area for an event | M9-M10 | turned ligthing off | staff | close
| n | staff | n/a | radio | LO-DINING | program staff requeste ac to be turned on in the dining hall | M9-M10 | ac was on and working cooling the area | staff | close