## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-08-01 | N | FAMMIS | 23W002402 |  | GMI-510 | KITCHEN AND HALL LIGHT OUT | M9 | CONVERTED BOTH LIGHT FIXTURES INOT LED | RESIDENT | CLOSED
| N | FAMMIS | 23W002419 |  | BBL-206 | EMPTY ROOM LIGHTS WERE LEFT ON | M9 | TURNED ALL LIGHTS OFF | DOOR TAG | CLOSED
| N | FAMMIS | 23W002429 |  | FA-16E | CLOGGED SHOIWER | M9 | CLEARED TUB DRAIN | RESIDENT | CLOSED
| N | EXT SHT |  |  | GM-POOL | DAILY POOL CHECK | M9 | FILLED CHLORINE FEEDER
| Y | FAMMIS | 23W002433 |  | FA-18D | PIPES UNDER SINK LEAK WATER WHEN IN USE | M9 | REISDENT REQUESTED AM SERVICE | FOLLOW UP | OPEN
| Y | EXT SHT |  |  | PHJ-102 | LEAK IN CEILING | M9 | EMPTIED BUCKET AS NEEDED