## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-08-03 | n | resident | 23W002647 | famis | BB-I306 | hot water takes a long time to reach temperature | M9-M10 | recir line was shut off at the dog house | resident | close
| y | resident | 23W002630 | famis | FA-03C-BAT | leak in the bathroom | M9-M10 | leak was coming from the upstairs vacant unit the tub shoe was removed and the toilet set inside the tub leaked downstairs-we removed the light fixture to dry out the ceiling area need to replaced the light in the shower area | follow-up | open
| y | resident | 23W002628 | famis | BB-S209 | shower is not getting cold water | M9-M10 | the cartridge needs to be replaced need a shut down | follow-up | open
| n | resident | 23W002627 | famis | BB-R206 | clogged sink | M9-M10 | unclogged ptrap assembly | resident | close
| n | resident | 23W002532 | famis | GM-M307 | Cracks in plaster on the bathroom floor and cracks in the ceilings where ants are coming through need to be resealed | M9-M10 | area needs to be treated for anst before anything is sealed | resident | close
| n | resident | 23W002537 | famis | FA-18D-KIT | kitchen lights flickering | M9-M10 | light were working in throughout the unit | resident | close
| n | staff | 23W002618 | famis | CDC-108 | water fountain leaking | M9-M10 | tigthened gasket | staff | close
| n | M1 | n/a | radio | GM-POOL | inspect pool | M9-M10 | filled chlorine feeder,inspected pool | staff | close
| n | M1 | n/a | radio | PHJ-102 | water leak | M9-M10 | emptied can collecting water | staff | close