## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-08-05 | n | staff | 23W002873 | famis | CDC-105 | no pressure in the faucet | M10 | replaced aerator | staff | close
| n | resident | 23W002835 | famis | OB-130 | bathroom sink making noises | M10 | condensation line was clogged | resident | close
| n | resident | 23W002835 | famis | OB-130 | no pressure at the kitchen faucet | M10 | faucet was working flushed aerator | resident | close
| n | resident | 23W002820 | famis | BB-U201 | stove burner is not working | M10 | replaced burner | resident | close
| y | resident | 23W002773 | famis | GM-M426-TE | corridor lights are out | M10 | timer needs to be reprogrammed several floors affected they are not on at night and during the day they will be on | follow-up | open
| n | resident | 23W002630 | famis | FA-03C-BAT | ceiling leak | M10 | no more leaked fixture was replaced | resident | close
| y | resident | 23W002872 | famis | OB-056 | ac is not working | M10 | placed a portable unit | follow-up | open
| n | M1 | n/a | radio | PHJ-102 | ceiling leak | M10 | emptied container holding water | staff | close
| n | M1 | n/a | radio | GM-pool | inspect pool | M10 | filled chlorine feeder | staff | close
| n | M1 | n/a | radio | FK- | secured units | M10 | secured 11 bldg | staff | close