## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-08-06 | n | resident | 23W002894 | famis | LOB-2 | clogged toilet stalls | M10 | closet augered toilets | staff | close
| n | resident | 23W002892 | famis | GM-L402 | toilet is not flushing | M10 | replaced handle | resident | close
| n | resident | 23W002887 | famis | GM-M212 | cannot open freezer | M10 | freezer was heavily frosted over with ice was the cause for the door to be seized- removed excess of ice | door tag | close
| n | resident | 23W002874 | famis | BB-A201 | leak under sink | M10 | repaired drainline | resident | close
| n | resident | 23W002879 | famis | OB-45 | outside like is out | M10 | light is on and working | staff | close
| y | resident | 23W002889 | famis | LO-A216 | ceiling leaking again | M10 | found no ac leak in the closet or the hall way | follow-up | open
| y | resident | 23W002885 | famis | GM-F520 TR | trash chute not working | M10 | compressor is leaking not holding pressur | follow-up | open
| y | resident | 23W002888 | famis | PH-K125 | shower leaking | M10 | couldn’t shut off valve to replaced cartidge | follow-up | open
| n | staff | n/a | radio | GM-POOL | inspect pool | M10 | filled chlorine feeder | staff | close
| n | staff | n/a | radio | PHJ-102 | leak | M10 | emptied can collecting water | staff | close
| n | staff | 23W002895 | famis | BBC-101 | fire alarm at getaway | M10 | reset alarm smoke | staff | close