## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-08-16 | n | staff | 23W003637 | famis | CDC 1117 | light out in the kids restroom | M10 | replaced bathroom and reccessed light | staff | close
| n | resident | 23W003689 | famis | FA-01K-B B | sink clogged | M10 | unclogged drainline | resident | close
| n | resident | 23W003663 | famis | FA-01K-B B | shower clogged | M10 | unclogged drainline | resident | close
| y | resident | 23W003673 | famis | OB-012 | ac is not working | M10 | placed portable unit | follow-up | open
| y | resident | 23W003677 | famis | OB-049 | possible leak under the kitchen sink | M10 | resident requested AM service | follow-up | open
| n | staff | n/a | radio | GMI-309 | fire alarm | M10 | gmi-309 ROOM B cause of alarm | staff | close
| n | staff | 23W003690 | famis | BBC- | drains backed up at the getaway café | M10 | snaked floor drain | staff | close
| n | M1 | n/a | radio | FK | lock up | M10 | 5G,6EHRS,13E,14D,16D,18B,19F,9E | staff | close
| n | M1 | n/a | radio | BBV | lock up | M10 | secured BBH-304,BBG-304,K202,L205 | staff | close
| n | M1 | n/a | radio | PL- | lock up | M10 | secured 34-36 | staff | close
| n | M1 | n/a | radio | GM-pool | inspect pool | M10 | checked pool/refilled chlorine feeder | staff | close