## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-08-17 | n | resident | 23W003791 | famis | FA-03A-KIT | fridge light out | M9-M10 | repaired light | resident | close
| n | resident | 23W003792 | famis | FA-03A-KIT | stove is not turning on | M9-M10 | plugged in the stove | resident | close
| y | resident | 23W003786 | famis | FA-03A-KIT | stove is missing the drip pans | M9-M10 | installed two drip pans missing pans | follow-up | open
| n | resident | 23W003749 | famis | GM-L210 | sink is clogged | M9-M10 | unclogged drainline | resident | close
| n | resident | 23W003793 | famis | GM-L210 | shower spout is leaking | M9-M10 | replaced tub spout | resident | close
| n | resident | 23W003794 | famis | GM-L210 | toilet is running | M9-M10 | adjusted flapper | resident | close
| n | resident | 23W003795 | famis | GM-L210 | entry light is out | M9-M10 | replaced t8 light | resident | close
| n | resident | 23W003795 | famis | GM-L201 | entry light is out | M9-M10 | replaced t8 light | resident | close
| y | resident | 23W003783 | famis | PL-A-11 | water heater closet leaking | M9-M10 | pinhole is the copper supply line to the water heater-leaking at the tee placed a temp patch | follow-up | open
| n | resident | 23W003649 | famis | GM-M326 EL | lights on the 3rd floor turning off | M9-M10 | all lights stayed on in the hallways of the building | resident | close
| n | M1 | n/a | radio | PLAZA | lock ups | M9-M10 | secured 34-36 | staff | close
| n | M1 | n/a | radio | BBV | lock ups | M9-M10 | secured N-202,L206,S102,S106 | staff | close
| n | M1 | n/a | radio | FK | lock ups | M9-M10 | 5G,6EHRS,13E,14D,16D,18B,19F,9E | staff | close
| n | M1 | n/a | radio | GM-pool | inspect pool | M9-M10 | checked pool,refilled chlorine feeder | staff | close