## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-08-18 | n | resident | 23W003916 | famis | FA-03B-BAT | light is out | M9-M10 | no lights were out in the apartment unit looked vacant | vacant unit | close
| n | resident | 23W003911 | famis | FA-02B-BAT | toilet is running | M9-M10 | replaced flapper | resident | close
| n | resident | 23W003903 | famis | BB-V303 | broken window | M9-M10 | found no broken windows throughout | door tag | close
| n | staff | 23W003842 | famis | CDC1131 | lights are dim in the bathroom | M9-M10 | replaced both bathroom lights | staff | close
| n | resident | 23W003919 | famis | BB-U110 | clogged sink | M9-M10 | unclogged ptrap assembly | resident | close
| n | resident | 23W003914 | famis | BB-K202 | lights are on | M9-M10 | turned off lighting secured windows and door | vacant unit | close
| n | staff | 23W003748 | famis | CDC1117 | leaking toilet | M9-M10 | replaced sloan kit | staff | close
| n | resident | 23W003863 | famis | GM-I302 | fridge handle broken | M9-M10 | replaced handle | resident | close
| y | resident | 22W029727 | famis | PL-E-62 | ac is not working | M9-M10 | no portable was needed the resident had their own unable to install a second unit,would overload the breaker | follow-up | open
| n | staff | 23W003921 | famis | BBC | backed up floor drain | M9-M10 | snaked floor drains | staff | close
| n | M1 | n/a | ext-phone | FK | lock ups | M9-M10 | secured 6S,9E,13E,14D,16F,18B,19F | staff | close
| n | M1 | n/a | ext-phone | BBV | lock ups | M9-M10 | secured V101,V209,S210 | staff | close
| n | M1 | n/a | ext-phone | GM-POOL | inspect pool | M9-M10 | checked pool and the chlorine feeder | staff | close