## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-08-22 | y | resident | 23W003788 | famis | BB-U106 | bedroom window is not closing correctly | M9-M10 | window valance needs replacing | follow-up | open
| n | resident | 23W003451 | famis | BB-U106 | outlet under tsat is not working | M9-M10 | outlet worked off the switch on the wall | resident | close
| n | resident | 23W004072 | famis | FA-11R-BAT | broken towel bar | M9-M10 | replaced towel bar | resident | close
| n | resident | 23W004019 | famis | FA-11R | blind broke in bedroom | M9-M10 | replaced blind vein | resident | close
| n | resident | 23W003857 | famis | FA-05D | closet door off track | M9-M10 | set doors | vacant unit | close
| y | resident | 23W003468 | famis | FA-06B | drywall holes is bedroom | M9-M10 | holes appear to be resident damage need to be charged | follow-up | open
| n | resident | 23W003352 | famis | FA-06A | bathroom door lock is not working | M9-M10 | lock is working properly | vacant unit | close
| n | resident | 23W004216 | famis | BB-H303 | no power in half of the unit | M9-M10 | reset breaker | resident | close
| n | resident | 23W004069 | famis | BB-L205 | stove is not working | M9-M10 | set burners they are working on the stove | resident | close
| n | resident | 23W003250 | famis | BB-U201 | hallway and bathroom light is out | M9-M10 | replace one light all the rest were working | vacant unit | close
| n | resident | 23W002801 | famis | BB-T104 | shower is not draining | M9-M10 | shower was draining and working correctly | resident | close
| n | resident | 23W002799 | famis | BB-T104 | wall damage by the sink | M9-M10 | found no damage mentioned in the work order | resident | close
| n | resident | 23W001320 | famis | BB-T307 | curtain fell and broke | M9-M10 | found no issues with the blinds or curtains | resident | close
| n | resident | 23W004080 | famis | FA-17C-BAT | light out in the bathroom | M9-M10 | replaced bulb | resident | close
| y | resident | 23W004177 | famis | FA-03A-KIT | need the drip pans for the stove | M9-M10 | unable to locate the proper drip pans for this stove resident is still without | follow-up | open
| n | resident | 23W004067 | famis | GM-L308 | lights out in the hallway | M9-M10 | rewired two hallway lights to LEDS | resident | close
| y | resident | 23W004109 | famis | OB-101 | stove is not working | M9-M10 | stove burners are not staying to temp according to resident need to order dials for the type of stove | follow-up | open
| y | resident | 23W004011 | famis | BB-V303 | bedroom window is not closing correctly | M9-M10 | window valance needs replacing | follow-up | open
| n | M1 | n/a | ext-phone | OB-66 | lock up | M9-M10 | secured unit | staff | close
| n | M1 | n/a | ext-phone | GM-POOL | inspect pool | M9-M10 | checked pool-filled chlorine feeder | staff | close