## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-08-25 | Y | FAMMIS | 23W004570 |  | FK-2B | KITCHEN FAUCET SPRAYING | M9 | FAUCET NECK HAS HOLE TEMPORARY FIX TO ALLOW RESIDENT TO USE FAUCET/HOT SIDE ANGLE STOP WONT TURN OFF | FOLLOW UP NBEED TO DO WATER SHUT DOWN/RESIDENT | OPEN
| N | FAMMIS | 23W004573 |  | FK-13A | DISPOSAL NOT WORKING | M9 | REMOVED PIECES OF METAL UNCLOGGED AND REST | RESIDENT | CLOSED
| N | FAMMIS | 23W004558 |  | GMA-106 | VENT ABOVE TOILET LEAKING WATER | M9 | TOILET IN UPSTAIRS UNIT FILL VALVE HOSE NOT SECURED CAUSING WATER TO LEAK DOWN BEHIND TOILET SECURED HOSE | DOOR TAG | CLOSED
| N | FAMMIS | 23W004533 |  | GMI-101 | TOILET HANDLE BROKE | M9 | REPLACED TOILET HANDLE | RESIDENT | CLOSED
| N |  |  | M1 TRENT | BBV | LOCK UP UNITS | M9 | LOCKED UP BBF-303,F-305,F-306 | STAFF
| N |  |  | M1 TRENT | BBV | LOCK UP UNITS | M9 | LOCKED UPBBC-302,I-302,H-302 | STAFF
| N | EXT SHT |  | M1 TRENT | GMD-406 | TOILET ANGLE STOP LEAKING | M9 | ANGLE STOP WAS FINE SUPPLY LINE FAILED REPLACED/PICKED UP ALL WATER | STAFF
| Y | FAMMIS | 23W004576 | STEAM PLANT | OB-111 | TOIKLET LEAKS AT BASE WHEN IN USE | M9 | FOLLOW UP NO RESPONSE | FOLLKOW UP | OPEN
| N | EXT SHT |  | EXT SHT | GM-POOL | DAILY POOL CHECK | M9 | CHECKED POOL FEEDERS | STAFF