## Sheet1
extended shift report
Date | follow up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-08-26 | n | resident | 23W004669 | famis | GM-G102 | outlets in living are not working | m10 | outlets are working | door tag | close
| n | resident | 23W004697 | famis | OB-113 | leak from the ceiling | m10 | unclogged condensation pan and replaced ac filter | resident | close
| n | resident | 23W004654 | famis | GM-D303 | sink clogged | m10 | unclogged ptrap assembly | resident | close
| n | resident | 23W004652 | famis | GM-D303 | shower clogged | m10 | unclogged drain removed clog | resident | close
| n | resident | 23W004577 | famis | FA-11R-KIT | broken blind | m10 | replaced blind vein | resident | close
| n | resident | 23W004642 | famis | GMA-101 | fridge leaking | m10 | unclogged drainline | resident | close
| y | staff | 23W003279 | famis | CDC-N | We have a display case mounted on the outside of the building near the preschool playground and we would like it moved to the inside of the building in the front lobby | m10 | removed bulletin board from the exterior of the building and placed in the storage room-no location to install was posted need the staff to mark where | follow-up | open
| n | M1 | n/a | ext-phone | GM-POOL | inspect pool | m10 | filled chlorine feeder | staff | close
| n | M1 | n/a | ext-phone | BBV- | lock up | m10 | C302,F303-305-305,L302-308,I302,H302 | staff | close
| n | M1 | n/a | ext-phone | FK- | lock up | m10 | secured 6E | staff | close