## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-08-27 | n | resident | 23W004707 | famis | OB-087 | no hot water | M10 | replaced thermocople-relit water heater | resident | close
| n | resident | 23W004703 | famis | GM-G402 | diposal is not working | M10 | reset unclogged | resident | close
| n | resident | 23W004700 | famis | GM-G402 | broken fridge handle | M10 | replaced handle | resident | close
| n | resident | 23W004702 | famis | GM-G402 | cabinet doors are not closing | M10 | adjusted hinge | resident | close
| n | resident | 23W004701 | famis | GM-G402 | shower does not have hot enough water | M10 | replaced shower stem | resident | close
| y | staff | 23W004708 | famis | PH-N320 | leak in the ceiling tile fell | M10 | ac leak-secondary line was leaking into the ceiling was capped off with mastic-capped off 3/4 drainline | follow-up | open
| n | M1 | n/a | ext-phone | GM-POOL | inspect pool | M10 | filled chlorine feeder | staff | close
| n | M1 | n/a | email | FK-19F | toilet install | M10 | installed toilet | staff | close
| n | M1 | n/a | email | FK-18B | toilet install | M10 | installed toilet | staff | close
| n | M1 | n/a | email | FK-13E | toilet install | M10 | installed toilet | staff | close