## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-08-30 | n | staff | 23W003279 | famis | CDC-N | mount display case in the lobby | M9-M10 | mounted in the hallway | staff | close
| n | resident | 23W004984 | famis | GM-A304 | front door light out | M9-M10 | replaced lamp | resident | close
| n | staff | 23W000572 | famis | GM-B-GROUN | lighting is out in the lobby | M9-M10 | lights are on entry and lobby | staff | close
| n | staff | n/a | ext-shift | GM-POOL | inspect pool | M9-M10 | checked pool | staff | close
| y | staff | n/a | ext-shift | GMF- | trash chute compressor | M9-M10 | compressor is down not holding pressure-motor mounts are broken | follow-up | open
| y | staff | n/a | ext-shift | GMG | trash chute compressor | M9-M10 | compressor is not holding pressure its leaking and tripped the breaker | follow-up | open
| n | staff | n/a | ext-shift | GMI | trash chute compressor | M9-M10 | drained compressor checked for airleaks | staff | close
| n | staff | n/a | ext-shift | GML | trash chute compressor | M9-M10 | drained compressor checked for airleaks | staff | close
| n | staff | n/a | ext-shift | GMM | trash chute compressor | M9-M10 | drained compressor checked for airleaks | staff | close
| n | M1 | n/a | radio | BBV- | lock ups | M9-M10 | LOCKED UP FOLLOWING UNITS C-302,H-302,I-302,F-305,F-306F-303,L-308,N-302,Q-101,Q-201 | staff | close