## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-09-04 | N | FAMMIS | 23W005360 |  | LO-D | LEAK IN PARKING LOT | M9 | LOOK AROUND PARKING LOT DID NOT LOCATE ANY ACTIVE WATER LEAK | STAFF | CLOSED
| N | FAMMIS | 23W005351 |  | LOD-114 | KITTENCHNET FAUCET IS CONSTANTLY ON | M9 | REPLACED BATTERIES FOR ON/OFF SENSOR | STAFF | CLOSED
| N | FAMMIS | 23W005362 |  | GMG-509 | SHOWER HAS LOW PRESSURE | M9 | SHOWER HEAD WAS ON OFF POSITION | RESIDENT | CLOSED
| Y | M1 TROY |  | M1 TROY | LO-DINNING | LEAK IN BASEMENT STORAGE ROOM | M9 | SECURED LOOSED NO HUBS TO STOP LEAK | DINNING STAFF/PLEASE FOLLOW UP ON TUESDAY TO REASSURE THERES ANY WATER DRIPPING | FOLLOW UP
| Y | STEAM PLANT | 23W005367 | STEAM PLANT | BBA-306 | AC LEAKING IN LOFT UNIT | M9 | UNIT ICED UP CAUSING EXCESSIVE CONDENSATE/CLEANING OUT RE USABLE AC FILTERS | UNIT HAD ALREADY DEFROSTED FOLLOW UP PLEASE | Open
| N | EXT SHT |  | EXT SHT | GM-POOL | DAILY POOL CHECK | M9 | CHECKED ACID AND CHLORINE FEEDERS | STAFF