## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-09-09 | n | resident | 23W006052 | famis | PH-F215 | toilet is leaking | M10 | toilet is working all in the hall are flushing correctly | resident | close
| n | staff | 23W006003 | famis | CDC104 | light out in the hallway | M10 | repalced hall lamp | staff | close
| n | resident | 23W005783 | famis | BB-Q205 | toilet is leaking | M10 | replaced fill valve and flapper | resident | close
| y | resident | 23W005501 | famis | BB-H303 | shower pressure and temperature is not working correctly | M10 | the catridge needs to be replaced | follow-up | open
| y | resident | 23W005403 | famis | BB-U307 | straircase light and walkway lights out | M10 | need to replace wall and hall fixture with Led | follow-up | open
| y | resident | 23W005404 | famis | BB-U307 | drawer in the kitchen and fridge handle is broken | M10 | the drawer needs to be rebuilt the drawer cover-and handle replaced | follow-up | open
| y | M1 | n/a | phone | BBB-202 | ac leaking | M10 | unclogged condensation pan | resident | close