## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-09-10 | n | staff | 23W006105 | famis | LO-C103 | no toilet paper in the public restroom | M10 | placed some paper in the bathroom | staff | close
| n | staff | 23W006104 | famis | LO-A0202 | The outlets in the dish room, next to the cash register, have no power. | M10 | reset breaker,staff has large cooling fans on the circuit tripping the breaker | staff | close
| n | staff | 23W006095 | famis | PH-K120 | ceiling tile fell | M10 | ceiling tile installed | staff | close
| n | staff | 23W006084 | famis | OB-OBAN-PA | light cover fell | M10 | installed cover on lollipop light | staff | close
| y | staff | 23W006081 | famis | PH-N300 | Roof tile cracked in front of the N310 Suite lounge, and water began leaking | M10 | roof leak-place trash can to catch water | follow-up | open
| n | resident | 23W005403 | famis | BB-U307 | outside light is out | M10 | replaced lights fixture outside by staircase | resident | close
| n | ext-shift | 23W005403 | famis | BB-U208 | outside light is out | M10 | replaced light fixture in the walkway | staff | close
| n | ext-shift | 23W005403 | famis | BBV-208 | outside light is out | M10 | replaced light | staff | close
| n | m1 | n/a | staff | GM-POOL | inspect pool | M10 | checked pool filled feeder | staff | close