## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-09-11 | N | STEAM PLANT |  | STEAM PLANT | OB-PEDESTRIAN GATE | GATE FACING LINDEN ST KEY IS STUCK | M9 | RETRIEVED KEY RESET TAIL PIECE TO CORE | RD ON DUTY
| N | FAMMIS | 23W006118 |  | PL-40 | SHOWER KNOBS NOT WORKING | M9 | REPLACED SHOWER KNOBS | DOOR TAG | CLOSED
| N | FAMMIS | 23W006122 |  | GML-106 | TOILET ON CD SIDE WONT FLUSH | M9 | AUGERED TOILET SEVERAL TIMES TO CLEAR CLOG | RESIDENT | CLOSED
| N | FAMMIS | 23W006113 |  | GMG-502 | SHOWER HEAD HAS LOW PRESSURE | M9 | REPLACED TUB DIVERTER | RESIDENT | CLOSED
| Y | EXT SHT | 23W006126 |  | OB-PEDESTRIAN GATE | DOOR IS NOT UNLKOCKING | M9 | TAIL PIECE BROKE OFF CORE JUST SPINS | CONTACTED ARD ON DUTY TO POST SIGN ON DOOR NOT TO BE USED DOOR IS SECURED/FOLLOW UP | FOLLOW UP
| N | FAMMIS | 23W006130 |  | GMD-108 | DISPOSAL HAS HORRIBLE SMELL COMING FROM IT | M9 | POURED ODOR CONTROL SUBSTANCE FOR DRAIN | DOOR TAG | CLOSED
| N | EXT SHT |  |  | GM-POOL | DAILY POOL CHECK | M9 | CLEANED OUT POOL SCUPPERS,BACKWASHED AND FILLED CHLORINE FEEDER | STAFF | CLOSED
| Y | EXT SHT |  |  | BB-MAINT SHOP | AC NOT WORKING | M9 | FAN MOTOR CEASED UP NOT TURNING BURNING UP SHUT UNIT OFF | FOLLOW UP | FOLLOW UP