## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-09-12 | N | M1 TRENT | 23W006338 | M1 TRENT | BBA-210 | RESIDENT SMELLS ELECTRICAL FIRE | M9 | UPON ARRIVAL RESIDENT STATED THAT AN ELECTRICAL SURGE HAD OCCURRED ,THE SMELL WAS COMING FROM HIS MONITOR THAT NO LONGER WORKED I TESTED EVERY ELECTRICAL OULET WITH MY METER NO ABNORMAL READINGS CAME BACK | RESIDENT | CLOSED
| N | CAMP RSO |  | STAFF | BBA-208 | PULL STATION FOR FIRE ALARM WAS PULLED | M9 | RESET PULL STATION RESIDENT IN UNIT A-210 PULLED UNIT IN CASE THERE WAS A FIRE | RSO STAFF | CLOSED
| N | EXT SHT CUST |  | STAFF | GMI-510C | OPEN UNIT FOR CLEANING | M9 | UNLOCKED AND LOCKED UNIT | STAFF
| N | EXT SHT CUST |  | STAFF | GML-505D | OPEN UNIT FOR CLEANING | M9 | UNLOCKED AND LOCKED UNIT | STAFF
| N | STEAM PLANT |  | STAFF | OB-ENTRY GATE | RESIDENT GOT KEY STUCK | M9 | RETRIEVED KEY | RESIDENT IN UNIT 9
| N | FAMMIS | 23W006310 |  | OB-111 | WALK WAY IS FLOODIG DUE TO RAIN | M9 | DIVERTED WATER | RESIDENT | CLOSED
| N | STEAM PLANT |  |  | OB-ENTRY GATE | RESIDENT GOT KEY STUCK | M9 | RETRIEVED KEY FOR RESIDENT IN APT 14 | RESIDENT
| N | M1 TRENT |  |  | OB-102 | ENTRY DOOR WAS KICKED IN | M9 | SECURED DOOR MADE SURE DEADBOLT WAS LOCKING | RESIDENT
| N | STEAM PLANT |  |  | OB-ENTRY GATE | RESIDENT GOT KEY STUCK | M9 | RETRIEVED KEY | RESIDENT IN UNIT 9
| N | EXT SHT |  |  | FK-GARAGE 23 | GARAGE WAS LEFT WIDE OPEN | M9 | SECURED AND LOCKED GARAGE HOUSING ITEMS IN THAT UNIT | STAFF
| N | FAMMIS | 23W006313 |  | FK-6F | KITCHEN SINK IS BACKING UP | M9 | SNAKED DRAIN SEVERAL TIMES TO CLEAR DRAIN | RESIDENT | CLOSED
| Y | FAMMIS | 23W006318 |  | OB-ENTRY GATE | GATE NOT WORKING | M9 | TOOK PANIC BAR APART RE ASSEMBLED MECHANISM OPARATION WAS BACK TO NORMAL | CAN SOMEONE FROM ACCESS PUT EYES ON THIS FIRST THING ITS ONLY WAY IN/OUT FOR HALF OF BLDG A | CLOSED