## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-09-16 | n | resident | 23W007077 | famis | PL-A-14 | no hot water | M9-M10 | relit water heater | resident | close
| n | resident | 23W007043 | famis | GM-I207 | plugs are not going into the socket | M9-M10 | plugs are fine due to the child proof feature showed resident how to use | resident | close
| n | resident | 23W007062 | famis | GM-I310 | stove is not working | M9-M10 | reset breaker | resident | close
| n | resident | 23W007042 | famis | GM-L404 | plugs are not going into the socket | M9-M10 | plugs are fine due to the child proof feature showed resident how to use | resident | close
| n | resident | 23W007072 | famis | BB-R105 | stove is not working | M9-M10 | plugged in unit reset breaker | resident | close
| n | resident | 23W007038 | famis | BB-A206 | leak in the bathroom | M9-M10 | replaced wax ring | resident | close
| y | staff | 23W006359 | famis | CDC104 | broken window outside the hall of room 104 | M9-M10 | baseball sized hole on the exterior pane of the window the inside has not been affected | follow-up | open
| n | resident | 23W007078 | famis | GM-L102 | toilet has no water | M9-M10 | unclogged toilet ran water | resident | close
| n | resident | 23W007071 | famis | FA-09E-A B | tub diverter leaking | M9-M10 | replaced diverter,tightened toilet seat | resident | close
| n | resident | 23W007063 | famis | BB-V310 | light is out | M9-M10 | replaced light over the bathroom sink | resident | close
| n | resident | 23W007064 | famis | BB-V310 | outlet is not working | M9-M10 | replaced the outlet for the refrigerator | resident | close
| n | staff | 23W006395 | famis | CDC1117 | hand board in the classroom | M9-M10 | found no board to hang or the area being marked | staff | close
| y | resident | 23W007088 | famis | BB-Q102 | ac unit is removed from the living room | M9-M10 | unit needs to be installed parts and coil are in the unit | follow-up | open
| n | M1 | n/a | radio | FK-11 | water heater was repaired | M9-M10 | checked throughout the night stayed on | staff | close
| n | M1 | n/a | radio | GM-POOL | pool check | M9-M10 | checked pool filled feeders | staff | close
| n | M1 | n/a | radio | PLAZA- | gates are open | M9-M10 | locked down gates | staff | close
| n | staff | 23W007089 | famis | BBC-getaway | back up drain | M9-M10 | snaked drainline | staff | close