## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-09-18 | y | resident | 23W007372 | famis | FA-03G | broken window in the bedroom | M9-M10 | stationary side was broken-boared up the window from the inside | follow-up | open
| n | staff | 23W007379 | famis | PL-BUILDIN | gates are open | M9-M10 | reset doors to close | staff | close
| n | staff | 23W007370 | famis | AI-A138 | drain has black sewer water come up | M9-M10 | all clear drains were working correctly | resident | close
| n | staff | 23W007369 | famis | AI-A133 | drain has black sewer water come up | M9-M10 | all clear drains were working correctly | resident | close
| n | resident | 23W007296 | famis | PH-J321 | clogged toilet | M9-M10 | closet augered toilet | resident | close
| n | resident | 23W007295 | famis | PH-J120 | no pressure in the lounge faucet | M9-M10 | replaced aerator | resident | close
| n | resident | 23W007340 | famis | AI-B217 | clogged shower drain | M9-M10 | unclogged floor drainline | resident | close
| n | resident | 23W007289 | famis | PH-M247 | toilet having trouble flushing | M9-M10 | turbned down pressure | resident | close
| n | resident | 23W007348 | famis | FA-05M-BAT | leak under the bathroom sink | M9-M10 | replaced pop up assembly and drain connection | resident | close
| n | staff | 23W007308 | famis | PH-N100 | door is getting jammed main entrance | M9-M10 | lubed lock | staff | close
| n | resident |  | famis | BBI-302 | no power in the apartment | M9-M10 | reset breaker | resident | close
| n | resident |  | famis | FK-12D | clogged shower drain | M9-M10 | cleared drainline-removed clog | resident | close
| n | resident |  | famis | FK-11G | leaking shower | M9-M10 | replaced control knobs-tightened cartridge | resident | close
| n | resident |  | famis | GMA-205 | clogged shower drain | M9-M10 | cleared drainline-removed clog | resident | close
| n | resident |  | famis | GMA-406 | clogged shower drain | M9-M10 | cleared drainline-removed clog | resident | close
| n | resident |  | famis | GME-202 | bathroom light is out | M9-M10 | light was working complete the resident said | resident | close
| n | resident |  | famis | FK-9H | diposal is not working | M9-M10 | reset and unclogged drainline | resident | close
| n | M1 | n/a | ext shift | FK-11BUILDING | water heater | M9-M10 | checked water heater stayed on- | staff | close
| n | M1 | n/a | ext shift | GM-POOL | inspect pool | M9-M10 | chekced chemicals filled feeder | staff | close