## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-09-19 | N | FAMMIS | 23W007540 |  | BBQ-102 | KITCHEN SINK BACKING UP | M9 | SNAKED DRAIN SEVERAL TIMES EXCESSIVE GREASE IN DRAIN | REISDENT | CLOSED
| Y | FAMMIS | 23W007620 |  | GME-108 | WINDOW IN ROOM C FRAME CAME APART | M9 | WINDOW FRAME NEEDS REPAIR RESIDENT REQUESTED THE JOB BE DONE NEXT DAY FURNITURE IN THE WAY OF WINDOW | FOLLOW UP/RESIDENT | OPEN
| N | FAMMIS | 23W007612 |  | PHL-230 | LOUNGE SINK NOT DRAINING | M9 | CLOGGED STRAINER BASKET WAS SOURCE OF BLOCKAGE |  | CLOSED
| N |  |  | AI RSO | AI | RSO STAFF REQUESTING EXTENSION CORD FOR FRIDGE | M9 | DROPPED OFF 2 EXTENSION CORDS TO RSO STAFF | STAFF
| Y | FAMMIS | 23W007653 | GLENMOR RSO | GMG | RESIDENT HAVING TROUBLE GAINING ACCESS TO G BUILDING | M9 | ACTIVATION ISSUE WITH RESIDENT RCARD MINE WORKED FINE | STAFF/FOLLOW UP
| N | FAMMIS | 23W007711 | CAMP RSO | BBT-104 | RESIDENT HAVING TROUBLE UNLOCKING BEDROOM LOLCK | M9 | DOOR LOCK LEVER EXTREMELY LOOSE TOOK APART RE SECURED | RESIDENT | CLOSED
| Y | STEAM PLANT |  |  | BBA-312 | LEAK IN CEILING | M9 | CHILLER LINES HAVE EXCESSIVE CONDENSATE | RESIDENT | FOLLOW UP
| N | FAMMIS | 23W007676 |  | GMG-203 | CD SIDE BATH SINK LEAKING | M9 | REPLACED AERATOR | RESIDENT | CLOSED
| N | FAMMIS | 23W007671 |  | GMM-209 | SHOWER HAS NO HOT WATER | M9 | AJUSTED TEMPERATURE STOP | RESIDENT | CLOSED
| Y | FAMMIS | 23W007626 |  | CDC-108 | LEAK IN CEILING | M9 | ACTIVE LEAK CANNOT ACCESS PIPES PLACED CONTAINER TO CATCH WATER | FOLLOW UP PLEASE | FOLLOW UP