## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-09-22 | n | resident | 23W008453 | famis | BB-G302 | toilet is not flushing | M9-M10 | replaced the broken handle | resident | close
| n | resident | 23W008373 | famis | GM-F603 | disposal is clogged | M9-M10 | reset and unclogged drainline and disposal | resident | close
| n | resident | 23W008457 | famis | AI-E122 | showers do no have any pressur | M9-M10 | flushed all three stalls showerheads from calcium and debris | resident | close
| n | resident | 23W008356 | famis | BB-I204 | disposal is clogged | M9-M10 | reset and unclogged drainline and disposal | resident | close
| n | staff | 23W008292 | famis | CDC1127 | emergency light is not working | M9-M10 | replaced emergency light fixture at the entry | staff | close
| y | staff | 23W008359 | famis | CDC108 | ceiling leak | M9-M10 | leak was still dripping placed can to catch water appeared to be residual after the repair | staff | open
| n | resident | 23W008365 | famis | GM-F609 | faucet temperature is not working correctly | M9-M10 | replaced the bathroom faucet | resident | close
| n | resident | 23W008365 | famis | GM-F609 | toilet is not flushing | M9-M10 | replaced flapper | resident | close
| n | resident | 23W008444 | famis | GM-M404 | bedroom light is out | M9-M10 | replaced d room light | resident | close
| n | resident | 23W008432 | famis | GM-A208 | bathroom light fell | M9-M10 | installed and secured vanity light fixture | resident | close
| n | M1 | n/a | ext | GM-POOL | inspect pool | M9-M10 | checked pool | staff | close
| y | M1 | n/a | ext | BBI-205 | ceiling leak | M9-M10 | found leak in the upstairs shower drain from the strainer connetion | follow-up | open