## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-09-25 | N | FAMMIS | 23W008790 |  | BBS-113 | NO HOT WATER | M9 | RESET WATER HEATER AND PLUGGED PUMP IN | STAFF | CLOSED
| N | FAMMIS | 23W008769 |  | BBS-212 | NO HOT WEATER | M9 | RESET WATER HEATER AND PLUGGED PUMP IN | STAFF | CLOSED
| N |  |  | M1 TRENT | FK-9F | NO HOT WATER | M9 | WATER VALVE WAS CLOSED OPENED VALVE BACK ON | RESIDENT
| N | FAMMIS | 23W008792 |  | GME-110 | CLOGGED TOILET ON CD SIDE | M9 | CLEARED TOILET | RESIDENT | CLOSED
| N | FAMMIS | 23W008791 |  | GMD-409 | TOILET NOT FLUSHING | M9 | REPLACED TOILET FILL VALVE INSIDE TOILET TANK | RESIDENT | CLOSED
| N |  |  | STEAM PLANT | BB-SOUTH PARKING LOT | CENTRAL PLANT RECEIVED CALL STATING STUDENTS SMELLED GAS IN THE PARKING LOT BY BUILDING S | M9 | INVESTIGATED CHECKED ALL WATER HEATERS/LAUNDRY ROOMS AND CHILLER ROOM NO SMELL OF GAS LOCATED | ARD ON DUTY
| Y | FAMMIS | 23W008804 |  | PL-18 | OUR ENTRY DOOR WAS REPAIRED A FEW DAYS AGO BUT NOW WE CANNOT LOCK APARTMENT | M9 | SECURED DOOR MADE SOME AJUSTMENTS SO DEAD BOLT AND LATCH WOULD CATCH/DOOR IS IN BAD SHAPE WEATHERIZED | RESIDENT | Open
| N | FAMMIS | 23W008794 |  | FK-16A | CLOGGED TOILET | M9 | CLEARED TOILET | RESIDENT | CLOSED
| N | FAMMIS | 23W008784 |  | GMF-301 | CLOGGED TOILKET ON AB SIDE | M9 | CLEARED TOILET | RESIDENT | CLOSED
| N | FAMMIS | 23W008770 |  | PL-22 | TOILET DON’T STOPP FILLING UP | M9 | REPLACED TOILET FL;APPER | RESIDENT | CLOSED
| N | FAMMIS | 23W008783 |  | FK-9 | WEIRD NOISEDS COMING FROM WATER HEATER | M9 | DID NOT NOTICE ANY ABNORMAL NOISES |  | CLOSED
| Y | FAMMIS | 23W008759 | ARD | AID-248 | COULD NOT UNLOCK ROOM KEY JUST SPINS | M9 | USED UNDER DOOR TOOL TO GAIN ACCESS/TAIL PIECE MUST OF SLIPPED OFF | RESIDENT/FOLLOW UP | OPEN