## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-09-27 | n | resident | 23W009301 | famis | GM-M306 | toilet is not flushing | M9-M10 | replaced handle | resident | close
| n | resident | 23W009270 | famis | GM-M212 | toilet is not flushing | M9-M10 | replaced flapper | resident | close
| n | resident | 23W009297 | famis | BB-A312 | power outage | M9-M10 | reset breaker the main one from the lounge in BBA-2nd floor | resident | close
| n | resident | 23W009269 | famis | GM-I410 | the refrigerator is not cooling | M9-M10 | replaced evaporator fan motor | resident | close
| n | resident | 23W008962 | famis | BB-L308 | closet doors are off | M9-M10 | repaired door | resident | close
| y | resident | 23W009289 | famis | LO-F425 | leak in the closet | M9-M10 | no leak at the time of arrival-ac is not working | follow-up | open
| y | staff | 23W009310 | famis | BB-A-GROUN | power issues I units a3110-314 | M9-M10 | reset breaker the main one from the lounge in BBA-2nd floor 3rd time in the day in happened | follow-up | open
| n | resident | 23W009294 | famis | FA-13H-KIT | leak under the kitchen sink | M9-M10 | repaired ptrap assembly | resident | close
| n | resident | 23W009250 | famis | BB-V306 | kitchen sink is clogged | M9-M10 | unclogged disposal and drainline | resident | close
| n | resident | 23W009286 | famis | BB-S313 | kitchen sink is clogged | M9-M10 | unclogged disposal and drainline | resident | close
| y | resident | 23W009311 | famis | BB-V106 | sink is clogged | M9-M10 | resident did not respond am service | follow-up | open
| n | staff | 23W009224 | famis | PH-H-GROUN | elevator is not working | M9-M10 | elevator is working on all floors-residents also confirmed riding the elevator | resident | close
| n | M1 | n/a | radio | GM-POOL | inspect pool | M9-M10 | checked pool filled feeders | staff | close
| n | rso | n/a | radio | PLAZA- | fire alarm-65 | M9-M10 | alarm tech-curtis responded to the alarm for the source | staff | close
| n | staff | 23W009320 | famis | GMD-300 | water on the carpet by the custodial room | M9-M10 | area appears like a spill checked all floors above and the room no source of a leak | staff | close