## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-09-30 | n | resident | 23W009605 | famis | GM-G530 TR | trash chute leaking air | M10 | repaired broken air line to the door | staff | close
| y | resident | 23W009501 | famis | GM-G203 | bathroom faucet is leaking | M10 | the body is leaking when its in use we are currently out of stock for the type of bathroom faucet | follow-up | open
| n | resident | 23W009835 | famis | PH-E242 | lounge sink is leaking | M10 | replaced ptrap assembly and downpipe | resident | close
| n | resident | 23W009903 | famis | BB-V101 | the refrigerator is not cooling | M10 | replaced evaporator fan motor | door tag | close
| n | resident | 23W009865 | famis | GM-I510 | toilet is not flushing | M10 | replaced handle | resident | close
| n | resident | 23W009892 | famis | GM-B405 | kitchen sink clogged | M10 | snaked drainline | resident | close
| n | resident | 23W009858 | famis | GM-F601 | toilet is leaking | M10 | replaced wax ring | resident | close
| n | resident | 23W009880 | famis | OB-127 | toilet flooded | M10 | closet augered toilets | resident | close
| n | resident | 23W009900 | famis | GM-L302 | toilet flooded | M10 | closet augered toilet,replaced fill valve and flapper-custodial extracted carpet flooded bedroom C cleaned up the entire area | resident | close
| n | m1 | N/A | RADIO | OB-38 | lock up | M10 | secured unit | staff | close
| n | m1 | N/A | RADIO | GM-POOL | inspect pool | M10 | checked pool filled feeders | staff | close