## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-10-01 | n | resident | 23W009958 | famis | GM-D209 | kitchen sink clogged | M10 | snaked kitchen sink drainline | resident | close
| n | resident | 23W009956 | famis | PH-J321 | toilet is clogged | M10 | closet augered toilet | resident | close
| n | resident | 23W008149 | famis | GM-D406 | table is shaking not balance | M10 | table has set legs unable to adjust it was not wobbling | resident | close
| n | resident | 23W009829 | famis | GM-A205 | tub is clogged | M10 | unclogged drainline | resident | close
| n | resident | 23W009878 | famis | GM-A405 | stove burners are not working | M10 | reset burners | resident | close
| y | resident | 23W009937 | famis | GM-D211 | toilet is running | M10 | resident was in the shower using the bathroom unable to resolve | follow-up | open
| n | resident | 23W009954 | famis | LO-A423 | showers are clogged | M10 | snaked drainline | resident | close
| y | staff | 23W009968 | famis | PH-M320 | fire alarm | M10 | smoke in the loung area-PD and RFP were out,C.White on site also | follow-up | open
| y | staff | 23W009970 | famis | PH-M320 | ac unit on the lounge cause of smoke alarm | M10 | shut off the unit in the lounge it was smoking causing the smoke alarm | follow-up | open
| n | M1 | n/a | ext-shift | GM-pool | inspect pool | M10 | filled feeder checked pool | staff | close
| n | staff | n/a | ext-shift | GMF-403 | smoke alarm | M10 | room a vape was the likely cause-called curtis white | staff | close
| n | staff | n/a | ext-shift | FK-11 | hot water | M10 | water heater stayed on throughout | staff | close