## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-10-07 | n | resident | 23W010921 | famis | GM-G209 | toilet is not flushing | M10 | replaced flapper | resident | close
| n | resident | 23W010936 | famis | BB-F202 | toilet is not flushing | M10 | replaced fill valve,handle and flapper | resident | close
| n | resident | 23W010583 | famis | FA-13B-BAT | leak in the bathroom | M10 | condensation secondary was dripping cleared line | resident | close
| y | resident | 23W010820 | famis | GM-F409 | leak in the ceiling of the AB bathroom | M10 | replaced the wax ring in F509,ceiling can be repaired and abated | resident | open
| n | staff | n/a | radio | GMI-307 | bathroom door is locked | M10 | unclocked door | resident | close
| n | staff | n/a | radio | BB-H305 | bathroom door is locked | M10 | unclocked door | resident | close
| n | M1 | n/a | ext- | FK-6G | exterior wall pack light is out | M10 | rewired light to work and now is on | staff | close
| n | M1 | n/a | ext- | FK-6H | exterior wall pack light is out | M10 | rewired light to work and now is on | staff | close
| n | M1 | n/a | ext- | FK-5A | exterior wall pack light is out | M10 | rewired light to work and now is on | staff | close
| n | M1 | n/a | ext- | FK-5H | exterior wall pack light is out | M10 | rewired light to work and now is on | staff | close
| n | M1 | n/a | ext- | FK-2A | exterior wall pack light is out | M10 | rewired light to work and now is on | staff | close
| n | resident | 23W010958 | famis | LO-B | elevator stuck on the first floor | M10 | doors were working on all floors | staff | close
| n | M1 | n/a | ext- | GM-POOL | inspect pool | M10 | filled feeder | staff | close