## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-10-09 | n | resident | 23W010988 | famis | PH-I201 | main door to 2nd floor is not locking | M10 | lubed latch | resident | close
| y | resident | 23W010981 | famis | GM-M-GROUN | main door to the GMM building is not closing | M10 | closing arm wheel for the arm is broken and the top of the frame is damaged the door is closing for now | follow-up | open
| n | resident | 23W010980 | famis | BB-R101 | shower is leaking | M10 | replaced shower head | resident | close
| n | resident | 23W010978 | famis | BB-P102 | sink is clogged | M10 | unclogged ptrap assembly | resident | close
| n | resident | 23W010976 | famis | GM-L403 | light is out in bathroom | M10 | replaced main light | resident | close
| y | resident | 23W010967 | famis | GM-A101 | microwave is sparking when its used | M10 | left the uni unplugged the motor is sparking-unit needs to be replaced | follow-up | open
| n | resident | 23W010956 | famis | GM-M510 | light is out in bathroom | M10 | replaced vanity light | resident | close
| n | resident | 23W010991 | famis | PH-B236 | toilet is clogged | M10 | closet augered toilet | resident | close
| n | M1 | n/a | ext | GM-POOL | pool check | M10 | filled feeder | staff | close