## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-10-09 | Y | FAMMIS | 23W011003 | STEAM PLANT | LOE-112 | LEAK IN MENS RESTROOM LAST SHOWER STALL | M9 | RE POSITION EXISTING CLAMPS ON HOT WATER LINE CONATIN WATER LEAK TO ON STALL ALL OTHER STALLS ARE USEABLE | FOLLOW UP LEAK IS AT A COPPER T REDUCER CONTAINED LEAK TO ONE STALL | OPEN
| Y | FAMMIS | 23W011013 |  | PHE | BIRE RACK LOCK NOT WORKING | M9 | GOT DOOR OPEN BUT ACTUAL DOOR LEVER WAS DAMAGED NEED REPLACEMENT | FOLLOW UP | OPEN
| Y | FAMMIS | 23W011022 |  | BBB-202 | AC LEAKING | M9 | RESIDENT REQUESTED AM SERVICE AS AC UNIT NOT BEING USED NOT LEAKING | FOLKLOW UP | OPEN
| N | FAMMIS | 23W01106 |  | GME-306 | AC LEAKING | M9 | AC UNIT ICED UP T-STAT SET AT 65 DEGREES REPLACED AC FILTER AJUSTED TEMP CHECKED UNIT TRHOUGHT NIGHT NO MORE LEAKS | RESIDENT | CLOSED
| N | FAMNMIS | 23W011029 | STEAM PLANT | FK-5B | AC LEAKING | M9 | CLEASRED CONDENSATE DRAIN LINE | RESIDENT | CLOSED
| Y |  |  | EXT SHT | FK-5B | CEILING TILE IN HALL WAY NEEDS TO BE REPLACED | M9 | CEILING TILE NEEDS TO BE REPLACED | RESIDENT/FOLLOW UP
| N | FAMMNIS | 23W010990 |  | GMD-302 | SHOWER ON CD SIDE CLOGGED | M9 | CLEARED TUB DRAIN | RESIDENT | CLOSED
| N | FAMMIS | 23W011010 |  | GMG-301 | TOILET ON CD SIDE KEEPS REFILLING WITH WATER EVERY 5 MINUTES | M9 | REPLACED TOILET FLAPPER AND FILL VALVE | RESIDENT | CLOSED
| N | FAMMIS | 23W011009 |  | FK-13H | KITCHEN SINK LEAKING | M9 | SECURED DRAIN PIPES TO STOP LEAK AND RAN DISHWASHER THROUGH CYCLE TO GET RID OF EXCESS SOAP | RESIDENT | CLOSED
| N | EXT SHT |  |  | GM-POOL | DAILY POOL CHECK | M9 | TOOK APART CHLORINE FEEDER CLEANED OUT ALL COMPONENTS SYATEM WAS ON CHLORINE FAIL SAFE PUT SYSTEM BACK TO NORMAL OPERATION | STAFF