## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-10-15 | n | campusrso | n/a | radio | BBK-202 | FIRE ALARM | M10 | alarm was due to the resident burning food-UCPD and RSO staff reset the alarm panel | resident | close
| n | resident | 23W011852 | famis | LO-F112 | shower holder in the ADA stall is broken | M10 | replaced holder | resident | close
| n | resident | 23W011846 | famis | GM-F503 | bathroom sink clogged | M10 | unclogged drainline | resident | close
| n | resident | 23W011855 | famis | PH-B302 | sink is leaking | M10 | replaced faucet gaskets | resident | close
| n | resident | 23W011844 | famis | PH-G212 | main light is out | M10 | replaced ceiling lamps | resident | close
| n | resident | 23W011853 | famis | LO-F116 | water puddle on the floor | M10 | tigthened toilet valve | resident | close
| y | resident | 23W011851 | famis | PH-A310 | leak from the ceiling in the loung area | M10 | leak appears to be coming from the roof place can to catch dripping | follow-up | open
| y | resident | 23W011856 | famis | PH-D316 | pipe leaks water that’s above the sin | M10 | resident was in the stall | follow-up | open
| n | M1 |  | ext-shift | GM-POOL | inspect pool | M10 | filled feeder checked feeder | resident | close
| n | ex-shift |  | famis | GMF-409 | entry light is out | M10 | replace lamp | resident | close
| n | ex-shift |  | famis | GMG-103 | entry light is out | M10 | replaced lamp | resident | close
| y | resident | 23W011845 | famis | FA-05B-BAT | tub drip water after closing the handle | M10 | resident was using the bathroom at the time | follow-up | open