## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-10-17 | n | resident | 23W012119 | famis | GM-G304 | clogged toilet | M9-M10 | closet augered toilet | resident | close
| n | resident | 23W012109 | famis | FA-05B-BAT | clogged toilet | M9-M10 | closet augered toilet | resident | close
| n | resident | 23W011947 | famis | BB-F204 | bathroom vent is not working | M9-M10 | there is not exhaust fan in the bathrooms in BBV-explained to the resident | resident | close
| n | resident | 23W011538 | famis | BB-L206 | stove burner not working | M9-M10 | reset burners | resident | close
| y | resident | 23W008635 | famis | BB-A306 | shower is leaking | M9-M10 | parts are needed to replace the cartridge | follow-up | open
| n | resident | 23W012120 | famis | GM-E211 | broken handle in the kitchen faucet | M9-M10 | replaced the kitchen faucet | resident | close
| n | resident | 23W012093 | famis | GM-F408 | bedroom light is out | M9-M10 | replaced b mainlight | resident | close
| n | resident | 23W012116 | famis | GM-I109 | kitchen sink clogged | M9-M10 | unclogged sink reset disposal | resident | close
| y | resident | 23W012114 | famis | PH-G217 | shower is leaking into the hallway | M9-M10 | the pan is cracked and leaking in the hall | follow-up | close
| y | resident | 23W012106 | famis | FA-10G-KIT | stove burner sparked and is not working | M9-M10 | stove is not working correctly burners and wire connections are faulty-please replace the unit | follow-up | open
| n | resident | 23W012081 | famis | FA-04E-BAT | lizard is stuck in the bathtub | M9-M10 | removed the animal | resident | close
| n | M1 | n/a | ext-shift | GM-POOL | inspect pool | M9-M10 | checked pool and feeder | staff | close