## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
10-18-22- | n | resident | 23W012258 | famis | BBQ-102 | no water pressure in the apartment | M10 | water was working correctly | resident | close
| n | resident | 23W012289 | famis | PH-E346 | shower hose is torn and leaking | M10 | replaced hose | resident | close
| n | resident | 23W012291 | famis | GM-I410 | clogged toilet | M10 | snake drainline | resident | close
| n | resident | 23W012284 | famis | GM-B403 | kitchen sink is clogged | M10 | snake drainline | resident | close
| n | staff | 23W012252 | famis | CDC127 | The light by the sink, next to the changing table, is out. It is the one that lights the underside of the cabinet. | M10 | the light under the cabinet is working with the light switch next to it on the wall | staff | close
| n | resident | 23W012240 | famis | FA-06R-BAT | leaking shower head | M10 | tigthened replaced washer | resident | close
| n | resident | 23W012275 | famis | GM-I501 | bedroom c light is out | M10 | replaced lamp | resident | close
| n | staff | 23W012297 | famis | FA-09C-A B | smoke detector issue | M10 | found unit still in alarm-c.white came in to replace | resident | close
| n | staff | 23W012271 | famis | BB-U306 | trouble alarm is not turning off | M10 | called c.white to repair swinging trouble | staff | close
| y | staff | 23W012254 | famis | CDC127 | The white filling located in the far left hand side of the infant/toddler play yard, by the slide and kindergarten gate, is lifting. Needs to be removed and/or replaced. | M10 | couldn't find the issue described in the work order | follow-up | open