## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-10-21 | n | resident | 23W012712 | famis | AI-B331 | lounge door is locked | M10 | opened door unlocked | resident | close
| n | resident | 23W012718 | famis | GM-G301 | light in the kitchen is out | M10 | replaced under cabinet light | resident | close
| n | resident | 23W012717 | famis | BB-T206 | disposal is not working | M10 | reset and unclogged disposal | resident | close
| n | resident | 23W012692 | famis | BB-G205 | toilet is running | M10 | replaced flapper | door tag | close
| n | resident | 23W012689 | famis | BB-G205 | outlet is not working | M10 | checked all outlets were working | door tag | close
| y | resident | 23W012687 | famis | BB-G205 | fridge is not working | M10 | resident has two mini fridges in the unit do not know which is the one we provided both work | follow-up | open
| y | staff | 23W012715 | famis | OBAN BUILD | pedestrian gate is not closing | M10 | gate doesn’t close the way closer needs repairing | follow-up | open
| y | resident | 23W012709 | famis | GM-F608 | room c light has a wasp inside | M10 | resident did not want me remove until they were no more bugs flying around | follow-up | open
| n | staff | 23W012685 | famis | GM-L-GROUN | elevator doors stuck | M10 | ran all floors the elevator is working | staff | close
| n | M1 | n/a | famis | PL-GATE | drive in gates | M10 | reset gates to close | staff | close
| n | resident | 23W012725 | famis | BB-P101 | no power at the fridge or microwave | M10 | reset the breaker | door tag | close